## SNHRT
www.meas-spec.com
FINDING RESISTANCE AND TEMPERATURE USING STEINHART & HART EQUATION
1/T = a + b(Ln R) + c(Ln R)^3, T in degrees Kelvin
Serial No.: | 0 280 130 006
Fill in temperatures and resistance for basis of calculating a,b,and c.
| Temp °C | Resistance Ω | Temp °K | LnR
Low | 0 | 640 | 273.15 | 6.4615 |  | Thermistor Calculator
Mid | 20 | 300 | 293.15 | 5.7038
High | 40 | 150 | 313.15 | 5.0106
Ln(R1) - Ln(R2) | 0.75769
Ln(R1) - Ln(R3) | 1.4508
(1/T1) - (1/T2) | 0.00024977
(1/T1) - (1/T3) | 0.00046763
Coefficients
a= | 0.0018069
b= | 0.00026126
c= | 6.1537e-07
Solving for R, given T: |  | Resistance Ω | dR/dT | %dR/dT | alpha | beta
Degrees °C= | 28 | 225.6868 | -7.8883 | -3.4952 | -2459.8548 | 2084.9243
Temp °K= | 301.15
Solving For T, given R:
Ohms= | 253.9 | Temp °C= | 24.6548 | Temp °F= | 76.3786
To find resistance -
| Degree °C | Resistance Ω | DRDT | alpha | beta | Degree °F
Enter Temp: | -10 | 959.8286 | -39.7949 | -3239.0772 | 2336.0422 | 14
| 0 | 640 | -25.3533 | -3012.9986 | 2259.1432 | 32
| 10 | 434.4713 | -16.453 | -2802.8888 | 2190.4872 | 50
| 20 | 300 | -10.8645 | -2607.1136 | 2129.1895 | 68
| 30 | 210.514 | -7.2931 | -2424.2545 | 2074.4735 | 86
| 40 | 150 | -4.9727 | -2253.0741 | 2025.6538 | 104
| 50 | 108.4496 | -3.4411 | -2092.4882 | 1982.1237 | 122
| 60 | 79.5038 | -2.4151 | -1941.5427 | 1943.3437 | 140
| 70 | 59.059 | -1.7179 | -1799.3949 | 1908.8329 | 158
Temp °C | Resistance Ω | DR/DT | alpha | beta
-10 | 959.8286 | -39.7949 | -3239.0772 | 2336.0422
-9 | 920.9347 | -38.0079 | -3215.6991 | 2327.9536
-8 | 883.7837 | -36.3082 | -3192.4973 | 2319.9563
-7 | 848.2906 | -34.6913 | -3169.4698 | 2312.0494
-6 | 814.375 | -33.1527 | -3146.6148 | 2304.2317
-5 | 781.9606 | -31.6884 | -3123.9302 | 2296.5023
-4 | 750.9748 | -30.2945 | -3101.4141 | 2288.86
-3 | 721.3493 | -28.9674 | -3079.0648 | 2281.304
-2 | 693.0189 | -27.7036 | -3056.8803 | 2273.8331
-1 | 665.922 | -26.5 | -3034.8588 | 2266.4465
0 | 640 | -25.3533 | -3012.9986 | 2259.1432
1 | 615.1974 | -24.2607 | -2991.2979 | 2251.9222
2 | 591.4615 | -23.2194 | -2969.7549 | 2244.7826
3 | 568.7423 | -22.2269 | -2948.3679 | 2237.7234
4 | 546.9923 | -21.2806 | -2927.1352 | 2230.7438
5 | 526.1664 | -20.3783 | -2906.0552 | 2223.8428
6 | 506.2217 | -19.5178 | -2885.1263 | 2217.0197
7 | 487.1176 | -18.6969 | -2864.3468 | 2210.2734
8 | 468.8154 | -17.9137 | -2843.715 | 2203.6031
9 | 451.2783 | -17.1663 | -2823.2296 | 2197.008
10 | 434.4713 | -16.453 | -2802.8888 | 2190.4872
11 | 418.3614 | -15.7721 | -2782.6912 | 2184.0399
12 | 402.9169 | -15.122 | -2762.6353 | 2177.6653
13 | 388.1077 | -14.5011 | -2742.7195 | 2171.3625 |  | R vs. T Table
14 | 373.9054 | -13.9081 | -2722.9424 | 2165.1309 | Enter Lowest Temperature (C): |  | -10
15 | 360.2826 | -13.3417 | -2703.3027 | 2158.9694 | Enter Highest Temperature (C): |  | 60
16 | 347.2136 | -12.8004 | -2683.7987 | 2152.8775 | Enter Temperature Increment (C): |  | 1
17 | 334.6737 | -12.2832 | -2664.4292 | 2146.8543
18 | 322.6395 | -11.7889 | -2645.1928 | 2140.8991
19 | 311.0887 | -11.3163 | -2626.088 | 2135.0111
20 | 300 | -10.8645 | -2607.1136 | 2129.1895
21 | 289.3532 | -10.4324 | -2588.2682 | 2123.4337
22 | 279.1289 | -10.0192 | -2569.5505 | 2117.743
23 | 269.3089 | -9.6238 | -2550.9592 | 2112.1165
24 | 259.8755 | -9.2456 | -2532.4931 | 2106.5536
25 | 250.8122 | -8.8837 | -2514.1508 | 2101.0536
26 | 242.103 | -8.5373 | -2495.9311 | 2095.6159
27 | 233.7327 | -8.2057 | -2477.8329 | 2090.2396
28 | 225.6868 | -7.8883 | -2459.8548 | 2084.9243
29 | 217.9517 | -7.5843 | -2441.9958 | 2079.6691
30 | 210.514 | -7.2931 | -2424.2545 | 2074.4735
31 | 203.3613 | -7.0143 | -2406.6299 | 2069.3368
32 | 196.4815 | -6.7471 | -2389.1209 | 2064.2583
33 | 189.8633 | -6.4912 | -2371.7262 | 2059.2375
34 | 183.4956 | -6.2459 | -2354.4448 | 2054.2737
35 | 177.3681 | -6.0108 | -2337.2755 | 2049.3662
36 | 171.4709 | -5.7854 | -2320.2174 | 2044.5146
37 | 165.7943 | -5.5693 | -2303.2692 | 2039.7181
38 | 160.3294 | -5.3621 | -2286.4299 | 2034.9762
39 | 155.0674 | -5.1633 | -2269.6986 | 2030.2883
40 | 150 | -4.9727 | -2253.0741 | 2025.6538
41 | 145.1194 | -4.7898 | -2236.5554 | 2021.0722
42 | 140.4179 | -4.6143 | -2220.1416 | 2016.5428
43 | 135.8883 | -4.4459 | -2203.8316 | 2012.0652
44 | 131.5237 | -4.2843 | -2187.6245 | 2007.6387
45 | 127.3175 | -4.1292 | -2171.5193 | 2003.2628
46 | 123.2633 | -3.9802 | -2155.5149 | 1998.9369
47 | 119.3551 | -3.8372 | -2139.6106 | 1994.6607
48 | 115.5871 | -3.6998 | -2123.8053 | 1990.4334
49 | 111.9537 | -3.5679 | -2108.0981 | 1986.2546
50 | 108.4496 | -3.4411 | -2092.4882 | 1982.1237
51 | 105.0697 | -3.3194 | -2076.9745 | 1978.0403
52 | 101.8093 | -3.2023 | -2061.5563 | 1974.0039
53 | 98.6635 | -3.0899 | -2046.2326 | 1970.0139
54 | 95.6281 | -2.9818 | -2031.0026 | 1966.0699
55 | 92.6986 | -2.8779 | -2015.8655 | 1962.1713
56 | 89.871 | -2.7779 | -2000.8203 | 1958.3177
57 | 87.1414 | -2.6819 | -1985.8662 | 1954.5086
58 | 84.5061 | -2.5895 | -1971.0025 | 1950.7436
59 | 81.9613 | -2.5006 | -1956.2282 | 1947.0221
60 | 79.5038 | -2.4151 | -1941.5427 | 1943.3437